## Desired Future State
Equipment (type) | Footprint (sqm) | Priority (1 = needs immediate escalation if not found; 2 = can wait for Equipment Committee consideration) | Owner (managed by) | Current storage location | Par level (number) | Location to clean | Current storage location post cleaning | # of items expected to be stored in garage | repaired by | Substitute Product if unavailable | How often would this be requested by your area? | Notes | Criteria this item does not meet
Alaris pumps |  |  | Site | Units |  |  |  |  | Biomed |  |  | need to be plugged in; Biomed services them and keeps records of how many there are and where they are located on site. Purchased via Capital; might be a contender for EG due to the lack of common space for where they are kept on the unit.
Bariatric bed |  |  | Site | Basement hallway |  |  | Basement hallway | 3-4 | FMO |  |  | current have 2 on site, 1 is broken; units don't even know they exist; often lose parts that go with them; site needs to decide about rentals or having 3-4 truly good bariatric bed that will be appropriately used.
Bear Hugger (warm air unit on a pole) |  |  | SDC | [8 empty] | currently kept in SDC and will be used on interventional floor.
Bed - Critical Care |  |  | Site | 2nd floor connector |  |  |  | 10 | FMO |  |  | Future state will have up to 10 spare
Bed - regular |  |  | Site | Dirty or Clean Zones in tower |  |  | Clean Zones in tower |  | FMO
Bed lift (outside CL) |  |  | Site | Next to Serenity Garden door |  |  |  | 1? |  |  |  | This lift is used to help lift beds when wheels are trapped in the crevice between elevator and floor.
Bed side drawers/Overhead tables |  |  | Site | Units | [7 empty] | Currently no spares but can
Blue Screens |  |  | Site | P2 Storage/hallways |  |  |  | 30 |  |  |  | These screens are kept for isolation needs and if we have hallway patients and need privacy screens.
Bumper Pads and other pieces |  |  | Site | Bariatric beds | [7 empty] | Currently go missing and are not tracked well.
Cast Clinic Cart |  |  | Rehab (OT) | 4th floor - rehab area |  |  |  |  | FMO
Chairs - barium swallow (MBS) |  |  | Rehab | Basement hallway |  |  | Basement hallway | 2 | FMO |  |  | currently have 2, should live in Equipment Garage; used in Medical Imaging
Chairs - bedside - bariatric |  |  | Rehab | Basement hallway |  |  |  |  | FMO
Chairs - bedside - regular |  |  | Rehab | Basement hallway |  |  |  |  | FMO |  |  | currently kept in hallways - used in inpatient units to transfer frail people. If sending ambulatory people up to OR we admit them in the chair and walk them up from SDC.
Chairs - bedside - specialty |  |  | Rehab | Basement hallway |  |  |  |  | FMO |  |  | currently no clear ownership; Stacey's opinion: Regular chair should stay in patient rooms; specialty chairs will also stay in patient rooms; Only ones going into the garage would be bariatric and extras of the other types of chairs; Nothing is stackable - take space- would probably have 2 -4 bariatri; 50 spare others - only reason they would be down here is if chair in every room.
Chairs - recliner regular |  |  | Rehab | Basement hallway |  |  |  |  | FMO
Chairs - recliner speciality |  |  | Rehab | Basement hallway |  |  |  |  | FMO
Chairs - Staxi |  |  | Site | Hospital entrances |  |  |  |  | FMO
Christmas and other decorations for units |  |  | Respiratory | Used to be SC basement | [7 empty] | No where ideal to store on the units. | 2
Commodes - regular |  |  | Site | All units |  |  |  |  | FMO |  |  | 4th floor would like one commode per patient room - want them available on the unit.
Commodes - specialty |  |  | Rehab | Basement hallway |  |  |  | 3 | FMO |  |  | currently have 3 on site, they are picked up by Equipment aide
Cribs and cots |  |  | NICU | NICU | [7 empty] | Spare
CRRT carts (empty) |  |  | Critical Care | Critical Care units |  |  |  | 10 |  |  |  | Will have 8-10 spare in the future
Cushion - bed & wheelchair |  |  | Rehab | Rehab room - 3rd floor |  |  |  | 20 |  |  |  | Each w/c should have a cushion - not all ROHO but about 20 cushions will be in garage as spare.Heels up (flat bed cushion); if not being used these can be in EG (10).
Emergency Management Supplies |  |  | Site | Various storage rooms | [7 empty] | Flashlights/headlamps/lanterns/ and any other office type supplies; RT supplies like disposable vents?; portable suction units?; any type of equipment or supplies that cannot be stored in Sea Can?
Epidural Pumps |  |  | Surgery | PACU wall | [7 empty] | currently cleaned by the aide on the surgical unit in dirty utility room by request and sent back to PACU.
Fit Testing Kit |  |  | Units | Units | [7 empty] | Currently units buy their own and it takes up a lot of space - could we alternate this over to the site ownership and then store in EG; advised to have two.
Hover Mat |  |  | Units | Cage on 6th floor | [7 empty] | not sure if we have any on site. Need to know what situation we will be using it. The usage frequency and urgency will determine the location of storage; used for falls and needs to be readily avaiable but can be in EG. Owned by Emergency in terms of capital budget
Infant Warmers (overhead) |  |  | NICU/Peds | Hallways | [7 empty] | Emergency borrows these for their clients so keep one or two in EG?
Isolation carts |  |  | Units | Units |  |  |  |  | FMO |  |  | may not exist in the future and currently no spares; intent is to have wall mount in the future
IV Poles - several kinds |  |  | Site | Units/hallways
Feeding (Kangaroo) pumps |  |  | Site | Units | [7 empty] | Feeding tube pumps - currently serviced by MDR but only need wiping not reprocessing - future state belong in EG
Least Restraint Items |  |  | Rehab | CT basement hallway | [7 empty] | Poseys are laundered; need to be returned to the EG; rewipable and reuseable stuff on the least restraint cart by the Porter office. Some items are one time use.
Mattress - Critical Care |  |  | CC | [5 empty] | FMO
Mattress - stretcher |  |  | Site
Mattress - regular bed |  |  | Site | [5 empty] | FMO
Mattress - Specialty |  |  | Site | [8 empty] | Buy our own KCI mattresses versus always renting.
Med carts |  |  | Units | [8 empty] | may not exist in the future
Modified Barium Swallow (MBS) *DUPLICATE* |  |  | Site | Porter office hallway | [7 empty] | used with the inpatient wards for X-rays
Nitric Oxide Delivery Device |  |  | Respiratory | RT dept | [7 empty] | 6 carts currently - 1 in ICU, 1 in NICU and then store the spares. This has 12 tanks that come with this unit. Are we able to store gases in this room?? Interim plan put them into the tank room hallways - get FMO to put the chains. | 1
Nurse on a stick |  |  | Site | Hallways |  |  |  |  | Biomed
Nurse Servers |  |  | Critical Care | Patient rooms |  |  |  | 10 |  |  |  | Future state will have up to 10 spare
Oxygen Concentrators |  |  | Emergency | Emergency Conf Rm and halls | [7 empty] | Emergency only uses when in congestion and patients are in hallways.Will this be relevant in future state?
Liquid Oxygen Liberator |  |  | Respiratory | RT dept | [7 empty] | Exchanged with Vital Aire program. Could this be stored in the current tank room as well? Terry and Tracey to explore | Can Remove?
PCA pumps (narcotic infusion - pain pumps) |  |  | PACU |  |  |  | MDR |  |  |  |  | Do not belong with MDR as they are not reprocessed.
Phlebotomy Chairs |  |  | Lab | ?? | [7 empty] | Request from Nafisa- Lab
Pinel kits and parts |  |  | Site | Basement hallway | [7 empty] | although managed by Site, individual ward has been discarding old restraints. Not sure if individual ward have been ordring them as well. Decision re: mechanism to manage is to be made
Portable floor lifts |  |  | Site | scattered on site |  |  |  |  | FMO |  |  | each floor should have at least 1; need to be charged when not used. Keep one or two spare in EG. Bariatric
Portable suction |  |  | FMO | FMO? |  |  | MDR |  | FMO |  |  | Suppose to be FMO but Biomed will repair on the crash carts; each crash cart has one portable suction; FMO keeps them if we have the actual spare suctions.
rehab - tilt-table |  |  | Rehab | Basement hallway |  |  |  | 1 | FMO |  |  | currently have 1 on site (size of a stretcher)
Sara Stedy lifts / Hoyem lifts |  |  | Units | scattered on site |  |  |  |  | FMO |  |  | ideally to have 2 to 3 per unit; currently, some are purchased by individual unit while some were purchased from Site's funding (Remove but confirm with clinical) unless spare - spare can be kept in EG.
SCD (Sequencial Compression Device) |  |  | ?? | [8 empty] | Do not belong with MDR as they are not reprocessed.
Slings - regular |  |  | Site | Linen room |  |  | Linen |  | n/a |  |  | currently it goes through the Linen system, and is stored in Linen Storage and delivered on request; keep this as is if possible.
Slings - specialty |  |  | Site | Linen room |  |  | Linen |  | n/a
Splinting cart |  |  | Rehab (OT) | 4th floor - rehab area |  |  |  |  | FMO
Spirometers |  |  | Respiratory | RT dept | [7 empty] | Diagnostic test for inpatients - looks like a WOW - have 3 currently. | Can Remove?
Stands (for Ipads) |  |  | Site | Units | [7 empty] | Spare ones can be kept in the garage - iPad itself can be kept on the unit
Stretchers - regular |  |  | Site | [5 empty] | FMO
Stretchers - trauma |  |  | ED | ED |  |  |  |  | FMO |  |  | Presumably will have these all in Emergency be trauma stretchers. Spoke to Martha and Kristale about needing a process for retrieval. Thought to have spares in the equipment garage that can be rotated out.
Thomas splints |  |  | Site | Emergency Conf Rm and Trauma | [7 empty] | Spares/extra stock. Zimmer is no longer selling or manufacturing Thomas splints. Kristale trying to source this out - working with SMH. Made up and sent up to Emergency. Goes on patient - goes to OR - sits in Dirty utility room and/or comes down to ED Dirty utility room. For peds patients - go to BCCH and splint leaves with the child and never comes back. Process issue currently identified. Opportunity here.
Transfer belts |  |  | Rehab | Linen room |  |  | Linen |  | n/a |  |  | currently it goes through the Linen system, then get back to ward with individual Linen Cart; would ideally stay as is.
Trauma Carts |  |  | Emergency | Emergency | [7 empty] | Would be nice to have a process whereby there is an extra cart for each of the types of carts and a process in place for cleaning of these in a timely interval.
TVs and players (Entertainment carts) |  |  | ICU | ICU conference room |  |  |  |  | n/a |  |  | Will we even need these in the future?
Ventilators |  |  | Resp | Various areas around site | [7 empty] | Airvos (10) may be kept down in the EG and backup supply of pandemic vents (10-15); RT or RT Aide will rotate these to ensure they are always working. | Can Remove?
Walkers - bariatric |  |  | Rehab | [5 empty] | FMO |  |  | should stay in Equipment Garage
Walkers - platform |  |  | Rehab | Basement hallway |  |  |  | 1-2 | FMO |  |  | have 1 or 2 on site, should stay in Equipment Garage
Walkers - rehab 2-wheels & 4-wheels |  |  | Rehab | [5 empty] | FMO |  |  | should be on each unit, in each patient room but maybe spares?
Walkers - regular |  |  | Rehab | [5 empty] | FMO |  |  | store on the units - rehab room or storage areas on the unit.
Wheelchairs (non-staxi) |  |  | Rehab | Rehab CT basement hallway |  |  |  | 30-40 | FMO |  |  | spare would stay in EG (20-40); Surgical floor says regularly sized ones can stay on units but bariatric or specialty for EG.
Wheelchair legrests |  |  | Rehab | Rehab CT basement hallway | [7 empty] | spare would go on a cart in EG.
Wound care vac |  |  | Vasc |  |  |  | MDR |  |  |  |  | we rent these - 3South has a depot vac that sits with your unit but is actually rented and is only charged for when it's activated by a request. 3South staff u/c activates it.
WOWs |  |  | Units | [8 empty] | Emergency department suggestion even though inpatient units were saying no.
Note on C1: what determine the priority (i.e. prioritize ITEMS tht needs to be stored in the Garage)
Note on A7: Ching, Christy: go see
Note on J49: Ching, Christy: MDR Technician